## Sheet1
pH Meter Calibration
Date:
pH 7.00 (+/- 0.01)
Chemist:
pH 4.00 (+/- 0.01)
pH Meter ID:
LISB (3.82 +/- 0.05)
*Open the hole on the side of pH meter before beginning | [5 empty] | Slope (92% - 102%):
*Close the hole on the side of pH meter when completed
*Ensure coils are covered with solution within the pH meter |  |  |  |  | Phenolphthaleine |  | Total Alkalinity
*After reaching pH 8.3 do not refill titrant to reach pH 4.5 |  |  |  |  | Titrate to pH 8.3 |  | Titrate to pH 4.5
|  | Vol of Sample (mL) | Initial |  | Vol of Titrant (mL) | Final pH | Vol of Titrant (mL) | Final pH
Site ID | Zone |  | Temp | pH
Chlorophyll-A
Site ID | Zone | Volume Filtered (mL) |  | Filterer
Date
Remember to write on foil:
|  |  |  | Site |  | Filterer Initials
|  |  |  | Zone |  | Volume Filtered
Date
Calculating Alkalinity: |  |  | To calculate Phenolphthaleine Alkalinity use the volume of titrant used to reach pH 8.3
(A x N x 50000)/mL sample
A= mL of Titrant |  |  | To calculate Total Alkalinity use the volume of titrant used to reach pH 4.5 (including the volume used to reach 8.3)
N= normality of standard acid (0.0364)
|  | Calculated |  | Calculated |  | Notes
Site ID | Zone | Phenolphthaleine |  | Total Alkalinity